## Sheet1
Annual Instruments(Used for production and testing) Calibration List
| No | Description | Model | Calibration Result | Calibration Certificate
1 | TRYQ-0010-1004 | Soldering Iron Temperature Tester | 192 | OK | Instruments-Calibration-Certificates\Z20241-G130227_TRYQ-0010-1004.pdf
2 | TRGJ-0017-1111 | Regulated Power | PAB-3005A | OK | Instruments-Calibration-Certificates\Z20240-G130274_TRGJ-0017-1111.pdf
3 | TRYQ-0021-1108 | Static Wristband Tester | SSD-498 | OK | Instruments-Calibration-Certificates\Z20240-G130302_TRYQ-0021-1108.pdf
4 | TRYQ-0062-1603 | Adjustable Switching Power | KPS-3030DA | OK | Instruments-Calibration-Certificates\Z20240-G130305_TRYQ-0062-1603.pdf
5 | TRYQ-0077-1905 | Ground Resistance Tester | AR4105A+ | OK | Instruments-Calibration-Certificates\Z20243-G186769_TRYQ-0077-1905.pdf
6 | TRYQ-0090-2109 | Multimeter | 9705 | OK | Instruments-Calibration-Certificates\Z20240-G130324_TRYQ-0090-2109.pdf
7 | TRYQ-0091-2109 | Multimeter | 9705 | OK | Instruments-Calibration-Certificates\Z20240-G130326_TRYQ-0091-2109.pdf
8 | TRYQ-0083-2003 | LCR Tester | TH/2817C+ | OK | Instruments-Calibration-Certificates\Z20240-G130359_TRYQ-0083-2003.pdf
9 | JBYQ-0021-1310 | Spectrum Analyzer | R&S FSV13 | OK | Instruments-Calibration-Certificates\Z20240-G130407_JBYQ-0021-1310.pdf
10 | JBYQ-2505-0002 | Programmable DC Power | OWON SPE6053 | - | Brand new in year 2025
11 | JBYQ-2505-0003 | Programmable DC Power | OWON SPE6053 | - | Brand new in year 2025
Note:The calibration of instruments are completed in July 2025 and relevant calibration certificate have been under making.